## Slide 1: Laser interstitial thermal therapy: factors to consider
Epilepsy – Treatment principles
EEG=electroencephalography; IED=interictal epileptiform discharge; iEEG=intracranial electroencephalography; IQ=intelligence quotient; MRI=magnetic resonance imaging; MTS=mesial temporal sclerosis
Friedman. Continuum (Minneap Minn) 2025;31(1):165‒186
 | Laser interstitial thermal therapy
Technique | Transmission of laser energy via a stereotactically positioned fibre optic probe to coagulate brain tissue
Benefit | No requirement for open craniotomy
Risks | Intracranial haemorrhage (1.5% of patients) Visual field defects (9% of patients) Cranial neuropathies (3% of patients)
Disadvantages | Primarily appropriate only for mesial temporal lobe epilepsy
Selection of candidates/ favourable prognostic factors:
Temporal lobe lesion/MTS
Unilateral temporal IEDs
IQ ≥70
Concordant EEG/MRI/semiology
Low-voltage fast pattern on IEEG
Notes: It is suggested that laser interstitial thermal therapy may be a preferred option in patients with mesial temporal lobe epilepsy with hippocampal sclerosis, and also for treatment of epilepsies arising from structures deep within the brain that are difficult to reach safely with open surgery.1
Reference:
Friedman D. Surgical treatments, devices, and nonmedical management of epilepsy. Continuum (Minneap Minn) 2025; 31 (1): 165‒186.